## Slide 1: Brain Tumor (Glioblastoma) Segmentation using Neural Networks
MIDS
Team 10
Fides, Jaya, Satvik, Tego

## Slide 2: Why we do it?
Background
Glioblastoma multiforme (GBM) is a WHO grade IV brain tumor with a 5-year survival rate of only 7.2%.
The first line therapy is MRI-guided surgery
  Relies on the ability of the surgeon to distinguish the tumor tissue from healthy brain tissue.
Motivation
Eliminate the gap between radiologists and neurosurgeons.
Radiologists are used to seeing 2D images in sequence and transforming them into a 3D image in their head;
Neurosurgeons are used to seeing and touching the actual tumor tissue.
Images above are from: https://radiopaedia.org/?lang=us

## Slide 3: Image Segmentation for Brain Tumor
T1
T2
T1 - post-contrast
T2 - FLAIR
Segmentation
0: Healthy brain tissue
2: Edema zone
4: Enhancing tumor
1: Necrosis zone
As the BraTS dataset is 150GB in total, we stored it in Google Drive.
Mount Drive to Colab Pro and train model with GPU.

## Slide 4: U-Net
240
4
120
8
60
16
15
64
8
128
30
32
240
4
15
64
30
32
60
16
120
8
240
5
3x3x3 Conv – stride 1,1,1 – ReLU – BatchNorm
3x3x3 Conv – stride 2,2,2 – ReLU – BatchNorm
3x3x3 Transpose Conv – stride 2,2,2 – ReLU – BatchNorm
Softmax
Skip layer
3D imaging U-Net
Skip-layer for voxel-level border identification
Loss function:
  Dice
  Cross-entropy
Batch size 4, 20 epochs
Batch normalization
Evaluation metric
  Dice similarity
(channels)
(voxels of width and height; slices: 155)

## Slide 5: Transfer Learning
3x3x3 Conv – stride 1,1,1 – ReLU – BatchNorm
3x3x3 Conv – stride 2,2,2 – ReLU – BatchNorm
3x3x3 Transpose Conv – stride 1,1,1 – ReLU – BatchNorm
3x3x3 Transpose Conv – stride 2,2,2 – ReLU – BatchNorm
240
4
120
8
60
16
15
64
8
128
30
32
240
4
15
64
30
32
60
16
120
8
240
5
Encoder
Challenges:
  3D image data augmentation (rotating, flipping, etc.) – not many reference resources found
  The dataset and ground truth both needs to be augmented at the same time
Current status:
  Solving the overfitting issue
  MSE on the validation dataset is too high
Part of the future work

## Slide 6: Results
 | ET | TC | WT | Average
U-Net |  |  |  | 
Encoder + U-Net |  |  |  | 
Benchmark (BraST Winner) | 89.82 | 94.03 | 94.58 | 92.81
Segmentation
Entropy Loss (argmax)
Entropy Loss (healthy)
Dice (argmax)
Dice (healthy)

## Slide 7: Thank you
Comments appreciated!